Quantifying quality: monetization of performance of office buildings – the STAR project case

Anthony Suppa,2, Giulio Cavana1,, Giulia Vergerio1,, Federico Dell’Anna1,2, Cristina Becchio1,3, Marta Bottero1,2, Sara Viazzo1,3, and Stefano Paolo Corgnati1,3

Keywords: building performance; indoor environmental quality; Cost-Benefit Analysis; building monitoring system; co-benefits monetization

To attain climate neutrality by 2050, 97% of buildings in the EU require deep energy retrofits to decarbonize, necessitating substantial private investment. To achieve this of renewal, a comprehensive accounting of retrofit-related benefits is needed. In this context, higher rental and sales prices observed in green buildings act as incentives to achieve higher performing buildings. Co-benefits of green buildings also include indoor environmental quality (IEQ), greater occupant well-being, and higher productivity, among others.

This paper reports progress from the STAR project in Ivrea (Northern Italy), which creates a tool to quantify fluctuations in asset value based on building performance against a multi-domain framework. STAR uses data obtained from a building monitoring system related to a set of Key Performance Indicators (KPIs) in 4 domains (energy, environmental, financial, and socio-economic) and applies Cost-Benefit Analysis to support management decisions.

This paper presents a method to monetize KPIs in the socio-economic domain. We provide a direct method to monetize decreases in worker productivity as per rates established in prior research, and an indirect approach for IEQ indicators, drawing on hedonic price analysis in analogy with green certification protocols (e.g. LEED, BREEAM, DGNB).

The results show that temperatures and ventilation rates outside optimal ranges can lead to productivity-related losses of up to 15% of hourly labor cost, and absence-related losses of up to 0.35% of annual work hours. Improved IEQ can lead to a potential increase in asset value of 2.48%.

Interuniversity Department of Regional and Urban Studies and Planning, Politecnico di Torino, giulio.cavana@polito.it

Interuniversity Department of Regional and Urban Studies and Planning, Politecnico di Torino

TEBE-IEEM Research Group, Energy Department, Politecnico di Torino