Identifying technically-feasible and effective solutions towards Positive Energy Districts (PEDs)

Muhammad Hafeez Saeed*,, Lucas Verleyen, Yucun Lu2, Louis Hermans2, Javier Arroyo2, Geert Deconinck1,3, Lieve Helsen2, , Erik Delarue2, 3, Johan Driesen1, 3

Keywords: Positive Energy Districts; Energy Flexibility; Building Clusters; Distributed Energy Resources; Multi-Energy Systems

- Positive Energy Districts (PEDs) are neighborhoods that aim to maintain an annual positive energy balance. As of today, no standard modeling procedure exists for assessing design and control of PEDs. Tools have already been developed for system integration, scenario analysis, and planning that include modeling of multi-vector energy systems and calculating possible scenarios based on user inputs. However, these tools typically make strong simplifications and do not consider the detailed energy flows, the network, or the underlying control. The assumptions made can threaten the validity of the obtained results significantly. On the other hand, tools that are general and detailed are usually more computationally expensive.

- Considering the mentioned challenges, a research project is carried out at KU Leuven - EnergyVille to identify technically feasible solutions for the design and operation of PEDs. The project comprises four research teams with backgrounds in energy markets, thermal and electrical systems simulation, machine learning, and optimal control. More specifically, this project aims to develop scientifically sound technical solutions that are feasible and affordable to realize the systematic deployment of PEDs to reduce climate impact in the built environment.

- The envisioned solutions in this project include both the system layout and the operation/control, rendering a “workable” concept of PEDs with all their (inter)connections. Moreover, the project takes existing building clusters (brownfields) as a starting point because it is a monumental challenge to decarbonize the existing building stock, more than only considering newly built buildings (greenfields). Meaningful pricing and tariffication schemes are also analyzed and developed in this project, to incentivize the identified solutions.

- The project has already elaborated a suitable definition of PEDs and reviewed existing literature. A quantitative assessment method for PEDs is devised, as multiple concepts have to be compared. Moreover, relevant Key Performance Indicators (KPIs) will be selected to benchmark the performance of the developed solutions. A stepwise procedure is followed by increasing the number of energy carriers and building types. In the end, the method should allow the identification and evaluation of integrated energy systems in a real cluster of buildings with different types and sizes.

* muhammadhafeez.saeed@kuleuven.be. Corresponding author.

ESAT/ELECTA, KU Leuven, Leuven, Belgium.

Department of Mechanical Engineering, KU Leuven, Leuven, Belgium.

EnergyVille, Genk, Belgium.