## Calculator
PERIPHERAL DEVICE CALCULATOR
0.01
[42 empty] | OK | Voltage cable losses
[42 empty] | KO | Current overload
| Master | Interface | Wire type | [39 empty] | Bus limit
| MIMO1212SG (digital) | Digital (CAN) | Cat 5
[10 empty] | Lazo | Cable | Cable | Interface | Device | Device | Device | Device | Power | Power | Power | Power | RsVcc | RsGnd | Id | It | I (A) Disponible | VRsVcc | VRsGnd | Vrs | Vt Rs | VRd | Vd | Vmín M | Vo M | Longitud |  | Voltage cable losses | Voltage cable losses | Current overload | Bus limit | OR |  | Error
Section | Device | Length (m) | Available I (A) | [7 empty] | L (m) | R (W) |  | Device | Vmín (V) | Imáx (A) | Ri (W) | Device | Vmín (V) | Imáx (A) | R (W) | R (W) | R (W) | I (A) | I (A) | I (A) | V (V) | V (V) | V (V) | V (V) | V (V) | V (V) | V (V) | V (V) | L (m) |  | V |  | I | CAN
1 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 1 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 10 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
2 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 2 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 20 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
3 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 3 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 30 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
4 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 4 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 40 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
5 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 5 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 50 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
6 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 6 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 60 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
7 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 7 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 70 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
8 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 8 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 80 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
9 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 9 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 90 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
10 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 10 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 100 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
11 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 11 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 110 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
12 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 12 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 120 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
13 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 13 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 130 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
14 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 14 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 140 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
15 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 15 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 150 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
16 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 16 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 160 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
17 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 17 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 170 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
18 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 18 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 180 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
19 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 19 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 190 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
20 | NONE | 10 | 1,2 | OK | , |  |  |  |  | 20 | 10 | 1 | Digital (CAN) | NONE | 0 | 0 | 0 | FALSE | 12 | 1,2 | 0,05 | 1 | 1 | 0 | 0 | 1,2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 200 | 12 | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
[33 empty] | 0 |  | OR |  | FALSE | FALSE | FALSE | FALSE | FALSE | OK | ,
Status
| OK | , | [10 empty] | Interface | Master | Master | Master | Master
[14 empty] | Master | Vout (V) | Imáx (A) | Ro (W)
[13 empty] | Digital (CAN) | MIMO1212SG (digital) | 12 | 1,2 | 0,05
[14 empty] | Cable | R (W/m) | Cable Select
[14 empty] | Cat 5 | 0.1 | R (W/m)
[14 empty] | User | 0.01 | 0.1
[13 empty] | Interface | Master |  | Master | Vout (V) | Imáx (A) | Ro (W)
[13 empty] | Digital (CAN) | MIMO88 (digital) |  | MIMO88 (digital) | 12 | 1.2 | 0.05
[13 empty] | Analog | MIMO88 (analog) |  | MIMO88 (analog) | 12 | 0.2 | 0.05
[13 empty] | Analog | MIMO54 (analog) |  | MIMO54 (analog) | 10.4 | 0.1 | 7.15
[13 empty] | Digital (CAN) | MIMO88SG (digital) |  | MIMO88SG (digital) | 12 | 1.2 | 0.05
[13 empty] | Analog | MIMO88SG (analog) |  | MIMO88SG (analog) | 12 | 0.2 | 0.05
[13 empty] | Digital (CAN) | MIMO1212SG (digital) |  | MIMO1212SG (digital) | 12 | 1.2 | 0.05
[13 empty] | Analog | MIMO1212SG (analog) |  | MIMO1212SG (analog) | 12 | 0.2 | 0.05
[13 empty] | Analog | NZA X-XXX (analog) |  | NZA X-XXX (analog) | 10.4 | 0.1 | 3.8
[6 empty] | NZA X-XXX (analog) | MIMO1212SG (analog) | MIMO1212SG (digital) | MIMO88SG (analog) | MIMO88SG (digital) | MIMO54 (analog) | MIMO88 (analog) | MIMO88 (digital) | Device |  | Device | Vmín (V) | Imáx (A) | Ri (W) | Interface
[6 empty] | WP-PSU | WP-PSU | WP-PSU | WP-PSU | WP-PSU | WP-PSU | WP-PSU | WP-PSU | WP-PSU |  | WP-TOUCH | 6.7 | 0.032 | 3.3 | Digital (CAN)
[6 empty] | WP-TOUCH | WP-TOUCH | WP-TOUCH | WP-TOUCH | WP-TOUCH | WP-TOUCH | WP-TOUCH | WP-TOUCH | WP-TOUCH |  | WP-TOUCH | 9.8 | 0.032 | 3.3 | Analog
[6 empty] | WP-VOL IR | WP-VOL IR | MPAGE16 | WP-VOL IR | MPAGE16 | WP-VOL IR | WP-VOL IR | MPAGE16 | MPAGE16 |  | WP-VOL IR | 9.8 | 0.018 | 3.3 | Analog
[6 empty] | NONE | NONE | eMPAGE | NONE | eMPAGE | MPAGE4 | NONE | eMPAGE | eMPAGE |  | MPAGE16 | 6 | 0.05 | 3.3 | Digital (CAN)
[6 empty] | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE |  | MPAGE4 | 6 | 0.045 | 3.3 | Analog
[6 empty] | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE |  | eMPAGE | 9.5 | 0.18 | 0.05 | Digital (CAN)
[6 empty] | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE |  | WP-PSU | 15 | 0.8 | 0.01
[16 empty] | NONE | 0 | 0 | 0
Note on C7: Select Master
Note on E7: Select wire
Note on C11: Select device
Note on D11: Enter length